# Technical Design Document

# TDD-008: Real-Time Patient Monitoring Architecture

| TDD ID | TDD-008 |
| --- | --- |
| Epic ID | EPIC-008 |
| Estimation ID | EST-008 |
| Version | 1.0 |
| Status | Draft |
| Author | emily.rodriguez@company.com |

## 1. Technical Overview

The Real-Time Patient Monitoring System is a distributed architecture designed to collect, process, and visualize patient vital signs from medical IoT devices. The system uses an event-driven microservices architecture with real-time streaming, complex event processing for alerts, and FHIR-compliant data storage.

## 2. Architecture Pattern

Event-Driven Microservices + Pub/Sub Pattern + CEP (Complex Event Processing)

## 3. Technical Components

Python: Backend services and CEP engine

FastAPI: REST API layer

PostgreSQL + TimescaleDB: Time-series vitals storage

Apache Kafka: Event streaming backbone

MQTT Broker (Mosquitto): IoT device communication

Redis: Real-time alert cache and session storage

React + TypeScript: Web dashboard

React Native: Mobile apps (iOS/Android)

WebSockets: Real-time dashboard updates

HL7 FHIR SDK: Healthcare data standards

## 4. Design Decisions

Use MQTT for device communication due to low bandwidth and reliability requirements

TimescaleDB extension for PostgreSQL to handle time-series vitals data efficiently

Apache Kafka for event streaming with patient vitals topics partitioned by facility

Complex Event Processing (CEP) engine for threshold-based alerting with sliding windows

WebSocket connections per care team for real-time dashboard updates

FHIR Observation resources for vitals storage ensuring EHR interoperability

Circuit breaker pattern for device connectivity failures

Redis pub/sub for mobile push notification fan-out

## 5. System Dependencies

auth-service: OAuth 2.0 authentication for clinicians

notification-service: Multi-channel alerts (SMS, push, email)

ehr-integration: FHIR API gateway to hospital EHR systems

audit-service: HIPAA-compliant audit logging

analytics-platform: Historical trending and reporting

## 6. Security Considerations

HIPAA compliance mandatory: PHI encryption at rest (AES-256) and in transit (TLS 1.3)

Device authentication via X.509 certificates for MQTT connections

Clinician access control via RBAC with patient assignment validation

All vitals data access logged for HIPAA audit requirements

Data retention policies enforced: 7 years for medical records

Penetration testing required before production deployment

Medical device integration must comply with FDA guidance on cybersecurity

## 7. Performance Requirements

Vitals ingestion: <2 second end-to-end latency from device to dashboard

Alert generation: <1 second from threshold breach to notification

Dashboard update rate: 1Hz (one update per second) for real-time vitals

Support 10,000 concurrent patient monitoring sessions

System uptime: 99.99% SLA (less than 53 minutes downtime per year)

Mobile app offline mode: Queue alerts for up to 24 hours

Historical query: <3 seconds for 30-day patient vitals timeline

## 8. Data Flow

1. Medical devices publish vitals to MQTT broker (topic: /facility/{id}/patient/{id}/vitals)
2. MQTT-Kafka bridge forwards events to Kafka vitals topic
3. Stream processor consumes events, validates, and stores in TimescaleDB
4. CEP engine evaluates alert rules on vitals stream (sliding windows)
5. Alerts published to alerts topic, consumed by notification service
6. WebSocket gateway pushes vitals to connected dashboards in real-time
7. FHIR API exposes Observation resources for EHR integration