# User Story - Build IoT Device Integration Layer

# MMO-12352: Build IoT Device Integration Layer

| Story ID | MMO-12352 |
| --- | --- |
| Epic ID | EPIC-008 |
| Estimation ID | EST-008 |
| TDD ID | TDD-008 |
| Issue Type | Story |
| Assignee | dev.william@company.com |
| Status | To Do |
| Story Points | 13 |
| Priority | Critical |

## Description

Implement MQTT-based integration layer for medical IoT devices supporting vitals streaming from Philips, GE Healthcare, Medtronic, Siemens, and Mindray patient monitors. Include device authentication via X.509 certificates, message validation, protocol translation, and fault-tolerant message buffering.

## Acceptance Criteria

1. MQTT broker (Mosquitto) deployed with TLS 1.3 and certificate-based device auth

2. Device adapters for 5 manufacturers parse proprietary protocols to standard vitals format

3. Vitals messages validated against HL7 FHIR Observation schema

4. Message buffering handles up to 1 hour of device disconnect

5. Device connection status monitored with heartbeat mechanism

6. End-to-end latency from device to Kafka topic is <2 seconds

7. Unit tests cover all device adapters with 90% coverage

## Technical Notes

Use paho-mqtt library for MQTT client connections

Implement adapter pattern for device-specific protocol handlers

Store device certificates in HashiCorp Vault

Use Kafka Connect MQTT source connector for bridge to Kafka

Implement circuit breaker for device connectivity failures

## Dependencies

Network team: VPN/firewall rules for device connectivity

Security team: X.509 certificate authority setup

Infrastructure: MQTT broker deployment and monitoring